UNIT 1

- Write a note on any five human Physiological parameters.

- Explain the parts and working of human heart.

- Explain Sources of human body temperature, its normal range and significance.

- Explain human respiratory system, respiratory rate and oxygen saturation in blood.

- Explain roles of different types of hormones.

- What are hyperglycemia and hypoglycemia? Explain any two of their effects.

- What is blood pressure? Explain its normal range and the effects of high and low blood pressure.

- Explain the types of human muscle and their functions.

- Explain the components and working of human nervous system.

- Explain structure of a human eye ball and formation of images under normal, short sight (myopia) and long sight (hyperopia) conditions.

- Which are the significant parts of a human ear? Explain the working of a human ear.

- Explain the types and functions of human Bone. Write the major constituents of a bone. Write a short note on bone elasticity and strength.

UNIT 2

- Explain the classification of electromagnetic waves based on their frequency or wavelength range.

- Explain the construction of Coolidge tube and the production of continuous and characteristic X-Rays.

- Explain the intensity verses wavelength graph of X-Rays.

- Explain briefly, Rayleigh scattering, Compton scattering, photo electric effect and pair production.

- Explain principle, construction and working of computed tomography scan apparatus.

- Explain data acquisition and image reconstruction in computed tomography scan.

- Explain principle, construction and working of dual energy computed tomography scan apparatus.

- What are the safety measures to be taken in computed tomography scanning?

UNIT 3

- Explain the production of ultrasonic waves using piezoelectricity and magnetostriction with relevant diagrams.

- Define Bohr magneton. Explain spin and orbital magnetic moment of an atom.

- Explain the origin of nuclear magnetic moment and the principle behind nuclear magnetic imaging.

- Explain the use of ultrasonic waves in bio imaging with an example.

- Explain the instrumentation used in ultrasound cardiograph.

- What is Doppler Effect? Explain its application in medicine with a block diagram.

- Explain MRI system components with schematic diagrams.

- Explain the procedure and applications of nuclear cardiac stress test.

UNIT 4

- Define voltage, electric current, electric power with units.

- Explain sine, saw tooth and square electrical pulses.

- Explain production of sine wave pulse.

- Explain the instrumentation involved in electrocardiogram (ECG).

- Explain the interpretation of ECG signal with diagram.

- Explain the origin of signals in ECG.

- Explain ECG, its procedure and precautions.

- Explain EEG, its procedure and precautions.

- Explain the interpretation of EEG signal with diagram.

- Explain EMG, its procedure and precautions.

- Explain the interpretation of EMG signal with diagram.

UNIT 5

- Discuss any two effects of ionizing and non-ionizing radiations on living systems.

- Discuss the procedure, detection and applications of Positron emission tomography.

- Compare origin, composition, energy and applications of alpha, beta and gamma radiations.

- Explain alpha, beta and gamma nuclear decay processes.

- Explain the interaction of γ-particles with matter.

- Write a note on Personal radiation dosimeters.

- Explain different Personal radiation protective equipment.

- What are effects of ionizing and non-ionizing radiations on living systems?

- What is Positron emission tomography? Explain the procedure.

- What are radioactive tracers? Explain any three applications of them.

- Explain the principle and procedure of External Beam Radiotherapy and Internal Radiotherapy.

- Explain the principle and procedure of Systemic Radiotherapy and Intraoperative Radiotherapy.

- Explain the principle and procedure of Proton Therapy.

- Write a note on Radiation safety.